## BOQ Output
Trade | Description | Unit | Qty | Rate | Amount
Civil Work & Plumbing Work. | Demolition of area wall as per sie condition and catering away the debris. | LS | 0 | 25000 | 25000
Civil Work & Plumbing Work. | Truck charges for removing the debris from site till dumbing ground. | nos | 9 | 8500 | 76500
Civil Work & Plumbing Work. | Providing and erecting 6" thk Siporex block wall in cement and sand mortar complete with material, labour etc. | sft. | 230 | 450 | 103500
Civil Work & Plumbing Work. | Providing internal cement plaster in a single coat of cement sand to concrete and masonry surfaces in all positionspreparing surface before applying plaster, proper curing, scaffolding, etc. complete. | sft. | 650 | 75 | 48750
Civil Work & Plumbing Work. | Providing and laying up to 150-200mm thick cement concrete flooring with cement, sand and aggregate properly for PCC. The Cement concrete laid to proper level and slope in alternate bays including compactions, filling of joints or as directed, etc. complete as per architects instructions. | sft. | 520 | 150 | 78000
Civil Work & Plumbing Work. | Providing and laying up to 150-200mm thick cement concrete flooring with cement, sand and aggregate properly for PCC. The Cement concrete laid to proper level and slope in alternate bays including compactions, filling of joints or as directed, etc. complete as per architects instructions. | sft. | 1330 | 120 | 159600
Civil Work & Plumbing Work. | Providing and laying flooring with1200 mm x 600 mm Vitrified Tiles approved make and sample in pattern as per detailed drawings on thick bed of cement sand mortar including surface preparation, applying neat cement float, giving necessary slopes, cleaning joints and grouting them in neat white cement paste with pigmented additives to match shade of the tile. etc complete. | sft. | 1900 | 250 | 475000
Civil Work & Plumbing Work. | Providing and laying vitrified tiles skirting of approved shade and make in cement paste complete with proper line and level. | rft. | 270 | 110 | 29700
Civil Work & Plumbing Work. | Providing & laying Vitrified tile Flooring of approved make, of size 600mm x 600mm , cement & Sand bed. | sft. | 190 | 150 | 28500
Civil Work & Plumbing Work. | Providing & fabricating wash basin counter top, 600 mm deep / 750 mm high from 19 mm thk Machine cut & polished pre-approved colour & shade and good quality Granite slab. With edge / corner moulding, beading / lipping all complete upto the satisfaction of the architect. There should be provision of cut out for Basin / taps / bottle trap fixing and finishing the same with polishing etc. Basic rate: Rs. 250/- | rft. | 18 | 1300 | 23400
Civil Work & Plumbing Work. | Providing and fixing sandwich type door jambs as per the detail given of granite with champhered and machine polished edge externally and only machine polished edge internally. | rft. | 25 | 550 | 13750
Subtotal: Civil Work & Plumbing Work. |  |  |  |  | 1061700
Plumbing Work. | Supplying & fixing CPVC pipe , cpvc pipe specials such as elbows, tees, bends, unions, flanges, flange bolt and nuts, rubber gaskets all of approved ISI marked fittings. Cutting of pipes, making threaded ends wherever required, fixing the pipe specials using required fixing materials like Hold tite and cotton twine, making water tight joints, making holes and cutting grooves in walls restoring the damaged portions to their original conditions using required materials, providing suitable galvanised brackets, "U" Bolts, expansion bolts for installing the pipes both vertically and horizontally as required to horizontal level and vertical plumb. | L.S | 0 | 18000 | 18000
Plumbing Work. | Providing & fixing S.S. Sink of specified size with Floor mounted pillar cock, bottle trap, angle cock and nani trap jalli. | nos. | 1 | 12000 | 12000
Plumbing Work. | Providing and fixing approved make CP twin robe hook with CP screws etc., complete. | nos. | 1 | 1300 | 1300
Plumbing Work. | Providing and fixing Liquid soap dispenser of approved make at required heights as per instructions. | nos. | 1 | 6500 | 6500
Plumbing Work. | Providing and fixing Toilet roll holder at indicated height as per drawings Local make. | nos. | 1 | 1300 | 1300
Subtotal: Plumbing Work. |  |  |  |  | 39100
POP/ Gypsum work. | Providing & fixing facia of the following sizes in extruded aluminium section, finished powder coated in approved shade, installed complete with connector & clips. | sft. | 100 | 105 | 10500
POP/ Gypsum work. | Providing and applying punning up to 8 to10mm thick layer of Plaster of Paris applied over selected existing plastered surface on walls and columns finished smooth, including making grooves 6mm wide or as directed, pattas, sills, etc. complete. The finished surface should be smooth and in perfect level so as to avoid unevenness and ready to take on paint. | sft. | 650 | 50 | 32500
POP/ Gypsum work. | Providing and applying of gyproc bond on all coumns to take POP. | sft. | 200 | 30 | 6000
POP/ Gypsum work. | Providing & fixing 75 mm thk partition to take gypboard finish on both sides on GI frame work, using 50mm channels and 48mm vertical studs, at 60cm c/c. 12.5mm thick gypsum board Screwed with 25mm drywall screws to GI frame work and finished with putty, paper tape and primer to have a joint less finish. | sft. | 652 | 200 | 130400
POP/ Gypsum work. | Providing & fixing of 50mm thick Rock wool of density 48kg/m3 suitably affixed to partition framework using GI binding wire and duct tape wherever necessary. | sft | 652 | 80 | 52160
POP/ Gypsum work. | Providing and fixing suspended false ceiling consisting of 12.5mm thick Gypsum plaster board suspended on GI framework. Rate to be included all kinds of profiles and cut outs required for light fixtures, Speakers, Smoke detector, trap doors and AC grill in the ceiling. | sft. | 395 | 160 | 63200
POP/ Gypsum work. | Providing and fixing suspended METALWORKS Open Cell False ceiling, finished with powder coateded, This Rate to be included all matrial & instllation | sft. | 585 | 390 | 228150
POP/ Gypsum work. | Providing & fixing of Floor Protection PP sheet to protect the tiles for getting damage. | L/S | 1900 | 20000 | 20000
POP/ Gypsum work. | Providing and fixing M S Frame 4"x4"Thick squre pipe Supply & Installation as per design. | L/S | 0 | 265000 | 265000
Subtotal: POP/ Gypsum work. |  |  |  |  | 807910
Carpentary Work. | Providing and fixing 18mm. Thk. Commercial plywood Pelmet for Blinds near external Glass cladding at false ceiling height complete as per design given.. The rate to be inclusive of providing all accessories required for fixing pelmets complete. | rft. | 97 | 750 | 72750
Carpentary Work. | Single Glazed Glass Partition with Aluminium Frame Black Anodised Matt finish alongwith 10mm toughned glass Partition Height 2400mm Glass to Glass Join with I-Profile. Glass partition Make: Modiguard, imported, saintgobain. | sft | 40 | 650 | 26000
Carpentary Work. | PROVIDE & FIXING SINGLE LEAF GLASS DOOR WITH ORNO HARDWARE TOP BOTTAM PIVOT OR SIDE HINGES 4 NOS SADEL PLATE ,DOOR CLOSER WITH HOLD OPEN ,BOTTAM LOCK & 25-450 H TYPE HANDLE WITH FLOOR DOOR STOPAR WITH 10MM TUFF GLASS ALL HARDWARE IN STD FINISH RATE WITH 10MM TUFF GLASS | Nos. | 4 | 42000 | 168000
Carpentary Work. | Number of Leaves :1 | Nos. | 1 | 27000 | 27000
Carpentary Work. | Providing and fixing full height table in ply with 18mm thick ply, approved shade laminate on all exposed and 1.0 mm thk. laminate 18mm commercial ply and lipping patti finished in approved shade laminate on both sides.Rate to inclusive of necessary hardwares as required. | sft. | 20 | 1500 | 30000
Carpentary Work. | Full ht. storage with openable shutters not more than 16' wide per shutter, in laminate top, adjustable shelves at app 14' c/c. with pre laminated board. | sft | 25 | 1400 | 35000
Carpentary Work. | Providing and fixing 750mm high over head storages of 450mm deep in 18mm thick ply with 18mm thick ply Shutters, mounted 'on auto closing hinges, finished in 1.5mm thick approved shade laminate on all exposed and 1.0 mm thk. laminate on all internal surfaces , incl of intermediate shelf as per the drawing in 18mm commercial ply and lipping patti finished in approved shade laminate on both sides. Rate to inclusive of necessary hardwares as required. | sft. | 15 | 1400 | 21000
Carpentary Work. | Providing and fixing a desk of over all size of 6'-0" X 2'-6" it shall be in combination of veneer & corain finish. Top shall be supported on 18mm thk. comm. ply verticals. All the inner surfaces shall be finished with white laminate. fixed drawer unit shall be provided. drawers and tray finished with Laminate shall be provided. Rate shall be inclusive of all necessary hardware items and fittings. | nos. | 1 | 115000 | 115000
Carpentary Work. | Providing & fixing ply partition on both sides using 12mm thk standard commercial ply.finished with rafetrs | sft. | 150 | 950 | 142500
Carpentary Work. | Providing and fixing 2100mm high storages of 600 mm deep in 18mm thick ply with 12mm thick commercial ply Shutters, mounted 'on auto closing hinges, finished in approved shade laminate on all exposed and white laminate on all internal surfaces , incl of intermediate shelf as per the drawing in 12mm commercial ply and lipping patti finished in approved shade laminate on both sides. Rate to inclusive of necessary nos of approved make locks, approved handles to be fixed in individual units. | sft. | 20 | 1100 | 22000
Carpentary Work. | Providing & fixing ply Panelling on door using 12mm thk standard commercial ply.finished with laminate | rft | 25 | 950 | 23750
Subtotal: Carpentary Work. |  |  |  |  | 683000
Trade 5 | Plastic Emulsion Paint (for ceilings): Providing and applying of Plastic emulsion paint of approved make to all specified areas, of approved colour.The surface of wall or ceiling to be painted shall be prepared by thorough cleaning and wetting and it shall be to the satisfaction of the Architect, and shall be applied with two coats of primer, two coats of putty and touch up putty if required to achieve smooth finish. The surface shall be painted with three coats of Asian/ Berger or equivalent as approved by the Architects. | sft. | 1900 | 31 | 58900
Trade 5 | Lustre Paint (for partition & walls): Providing and applying of Lustre paint of approved make to all specified areas, of approved colour.The surface of wall or ceiling to be painted shall be prepared by thorough cleaning and wetting and it shall be to the satisfaction of the Architect, and shall be applied with two coats of primer, two coats of putty and touch up putty if required to achieve smooth finish. The surface shall be painted with three coats of Asian/ Berger or equivalent as approved by the Architects. | sft. | 3600 | 35 | 126000
Trade 5 | Site cleaning of site before handover of site with chemical cleaning of glasses, flooring, washroom etc | LS | 0 | 20000 | 20000
Subtotal: Trade 5 |  |  |  |  | 204900
Trade 6 | Work top of size 1200 x 600 x 1200 mm made of 25mm thick prelaminated particleboard with pvc edgebinding supported on gable ends as understructure.Pedestal unit made of prelaminated particleboard ,with 2 Equal drawers & 1 filing unit with SS handles and central lock. | Nos. | 6 | 23000 | 138000
Trade 6 | Freestanding Table of size 3000 x 1200 made of 25mm thick prelaminated particleboard with covered with pvc edgebinding supported on gable ends & apron as understructure. | Nos. | 1 | 42000 | 42000
Trade 6 | Freestanding Table of size 1500 x 600 made of 25mm thick prelaminated particleboard with covered with pvc edgebinding supported on gable ends & apron as understructure. Cost is including side & back runner. | Nos. | 1 | 35000 | 35000
Trade 6 | Low ht. storage with openable shutters not more than 16' wide per shutter, in laminate top, adjustable shelves at app 14' c/c. with pre laminated board. | sft | 55 | 1200 | 66000
Subtotal: Trade 6 |  |  |  |  | 281000
Trade 7 | Supply of Medium back chairs for complete office. | Nos | 17 | 6000 | 102000
Trade 7 | Supply of High back chair | Nos | 2 | 8000 | 16000
Trade 7 | Supply of Bar Stools. | Nos | 4 | 4000 | 16000
Subtotal: Trade 7 |  |  |  |  | 134000
Trade 8 | Supplying and Fixing of Rollerblinds for entire glass façade area as approved by Architect for external glass facade. | sft. | 1150 | 160 | 184000
Trade 8 | Supplying and Applying wallpaper on wall as per architects design. | Roll | 5 | 7000 | 35000
Trade 8 | Supplying and Applying frosted film on glass partitions and doors as per architects design. | sft. | 50 | 110 | 5500
Trade 8 | Providing and fixing of 8 to 10mm Acoustic panelling on all meeting room & cabin ( single wall) fixed with glue. | sft | 300 | 700 | 210000
Trade 8 | Loading/ Unloading of all the materials. | LS | 0 | 50000 | 50000
Trade 8 | AluminiumSkirting : Providing and Fixing aluminium skirting to be integrated with wall partition of approved shade and make. | Rft | 150 | 100 | 15000
Trade 8 | Supply & Installation of GI rafters as per design. | sft | 100 | 985 | 98500
Trade 8 | Room Signage as per design. | Nos | 1 | 1250 | 1250
Trade 8 | Push & Pull Set in SS plate. | Nos | 2 | 550 | 1100
Trade 8 | Mathadi cost. | LS | 0 | 40000 | 40000
Trade 8 | Supply of vertical planters, including pebbles nearby executive waiting area. | LS | 0 | 20000 | 20000
Trade 8 | Supply of small 6" pots with plants above storage & 6 nos. 4' ht planters. | LS | 0 | 15000 | 15000
Trade 8 | Supply & installation of Company logo of Acrylic solid color as per company guidelines till 300mm ht. | Nos | 1 | 18000 | 18000
Subtotal: Trade 8 |  |  |  |  | 693350
Trade 9 | 2 UPS & 1 Raw Points for each Workstation. | Points | 6 | 2250 | 13500
Trade 9 | 2 UPS & 2 Raw Points for Reception. | Points | 6 | 2250 | 13500
Trade 9 | 1 UPS & 1 Raw Points for TV. | Points | 2 | 2250 | 4500
Trade 9 | 2 UPS & 1 Raw Points for Manager cabin | Points | 1 | 2250 | 2250
Trade 9 | 6 Raw points for open area at Skirting Level. | Points | 4 | 2250 | 9000
Trade 9 | 5 Raw & 5 UPS points for confarnce room | Points | 3 | 2250 | 6750
Trade 9 | 2 UPS & 1 Raw Points for TV. | Points | 1 | 2250 | 2250
Trade 9 | 15 amp 4 Raw point for Printers. | Points | 1 | 2250 | 2250
Trade 9 | 15 amp 8 Raw point for cafeteria. | Points | 2 | 2250 | 4500
Trade 9 | 15 amp Sockets for washroom | Points | 1 | 2250 | 2250
Trade 9 | Providing & fixing of new Electrical Panel. Supply, installation, testing and commissioning of following miniature circuit breaker type distribution boards, wall mounted (flush / surface) as per drawings and specifications and as required. The distribution board shall be of sheet steel enclosure powder coated with all accessories and hardware as required complete. Electrical DB includes: Main DB, Lighting DB, Power DB of Legrand make. | nos. | 1 | 100000 | 100000
Trade 9 | Supply, Receiving, storing, handling, installation & commissioning of LED spot light lighting fixtures with all fixing accessories,Chain supports,fastners,Clamps etc. as required. | Nos. | 10 | 2950 | 29500
Trade 9 | Supply, Receiving, storing, handling, installation & commissioning of Designer Hanging Light fixtures with all fixing accessories,Chain supports,fastners,Clamps etc. as required. | Nos. | 5 | 15000 | 75000
Trade 9 | Supply, Receiving, storing, handling, installation & commissioning of 1200 mm length LED Linear light fixtures with all fixing accessories,Chain supports,fastners,Clamps etc. as required. Body will be customise & driver will be of phillips/ wipro | Nos. | 2 | 8500 | 17000
Trade 9 | Supply, Receiving, storing, handling, installation & commissioning of LED Linear Profile light with all fixing accessories,Clamps etc. as required. Body will be customise & driver will be of phillips/ wipro | Rft | 32 | 1250 | 40000
Trade 9 | Supply, Receiving, storing upto to 30 mm profile light installation on ceiling & commissioning of profile light & driver will be of phillips/ wipro | Rft | 46 | 180 | 8280
Trade 9 | Supply, Receiving, storing, handling, installation & commissioning of LED spot light lighting fixtures with all fixing accessories,Chain supports,fastners,Clamps etc. as required. | Nos. | 27 | 2950 | 79650
Trade 9 | Raceway Work ( combination of PVC & Aluminium )for complete office as per the Location of Cabins & Workstations. | LS | 0 | 50000 | 50000
Trade 9 | 1 Data & 1 voice for each workstations. | Points | 6 | 2850 | 17100
Trade 9 | 1 Data & 2 Voice for Reception Table. | Points | 2 | 2850 | 5700
Trade 9 | 1 Data & 1 Voice for each Manager cabin. | Points | 1 | 2850 | 2850
Trade 9 | 2 Data & 1 Voice for all meeting rooms. (10 seater) | Points | 1 | 2850 | 2850
Trade 9 | 4 Data for Printer. ( Including all materials ) | Points | 1 | 2850 | 2850
Trade 9 | 2 Data for TV. | Points | 3 | 2850 | 8550
Trade 9 | HDMI cable for in Meeting Room & Board room. | nos. | 3 | 9500 | 28500
Trade 9 | Providing and installing 24 port Patch panel. | No. | 4 | 7500 | 30000
Trade 9 | Providing and installing 7' patch cord. | No. | 180 | 950 | 171000
Trade 9 | Punching & crimping of data & voice points at rack end & user end complete with numbering, ferulling, IO and face plate. | LS | 0 | 105000 | 105000
Trade 9 | Supply, installation of cable manager. | No. | 8 | 1300 | 10400
Subtotal: Trade 9 |  |  |  |  | 844980
Trade 10 | Providing, fixing, testing & commissioning of 6W Ceiling SPEAKER | Nos. | 2 | 3000 | 6000
Trade 10 | Providing & fixing 120 watts amplifier. | Nos. | 2 | 55000 | 110000
Trade 10 | Providing, fixing, testing & commissioning of Back Box | Nos. | 2 | 1550 | 3100
Trade 10 | Providing, fixing, testing & commissioning of Volume Controller | Nos. | 2 | 1950 | 3900
Trade 10 | Providing & fixing of speaker wiring in PVC conduit. | Rmtrs | 100 | 110 | 11000
Subtotal: Trade 10 |  |  |  |  | 134000
Trade 11 | Supply, Installation & Testing of Smoke detector. | Sq.ft | 1800 | 140 | 252000
Subtotal: Trade 11 |  |  |  |  | 252000
Trade 12 | Supply, installation & Testing of Sprinkler Point Complete with required Flexible Drop & Surface Type Sprinkler as per the new layout.Supply, fabrication, assembling, laying, testing and balancing of GI Pipe class 'C' including all accessories such as screwed/welded joints, flanges, tees, reducers etc. including lift to all heights, welding, jointing, painting and inserted rubber gaskets, nuts, bolts etc. | Sq.ft | 1800 | 110 | 198000
Subtotal: Trade 12 |  |  |  |  | 198000
Trade 13 | Supply and installation of copper refrigerant piping, drain piping, and electrical cabling with all necessary fittings and accessories required for the proper functioning of the VRV system. This includes VRV outdoor and indoor units | Sqft | 1800 | 510 | 918000
Subtotal: Trade 13 |  |  |  |  | 918000
GRAND TOTAL |  |  |  |  | 6251940